NTHU Life Science and Medicine Mouse Core Facility

Monthly Inspection Checklist for Class I Pressure Vessels

Equipment Number:                  Inspection Number:                 Type/Model:

Year: ___________

| Item No. | Inspection Item | Acceptance Criteria | Inspection Method | Inspection Result |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Corrective Actions and Follow-up |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | / |  | / |  | / |  | / |  | / |  | / |  | / |  | / |  | / |  | / |  | / |  | / |  |  |  |  |
| 1. | Main Body | (1) The vessel body shall have no damage or leakage. | Verification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | (2) The surface of the vessel body shall be free of corrosion and deformation. | Visual Inspection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. | Cover Bolts | (1) Bolts shall be intact, without looseness or damage. | Verification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | (2) The cover plate shall have no deformation. | Visual Inspection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | (3) The cover plate shall be free of corrosion and damage. | Visual Inspection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. | Piping and Valves | (1) Piping shall have no damage or leakage. | Verification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | (2) Piping shall be free of corrosion. | Visual Inspection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | (3) Valve assemblies shall have no damage or leakage. | Verification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | (4) Valve assemblies shall be free of corrosion. | Visual Inspection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. | Automatic Control and Auxiliary Devices | (1) All automatic devices shall remain functional | Test |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | (2) Temperature control devices shall operate normally. | Test |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | (3) The temperature gauge shall be firmly secured and function properly. | Verification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | (4) The pressure gauge shall be firmly secured and function properly. | Verification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. | Other Items Necessary for Maintaining Performance | (1) Thermal insulation shall be secured (not falling off). | Verification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | (2) Supports and brackets shall be secured and free of corrosion. | Verification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | (3) The work passage shall be clear of obstruction. | Visual Inspection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Inspector |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Notes:

- Check ✓ for normal; △ for items requiring special maintenance; × for abnormal conditions requiring repair or corrective action.

- If any abnormal condition is found during inspection, immediate repair and necessary measures shall be taken.

- In accordance with the Occupational Safety and Health Management Regulations, records shall be retained for three years.

Department Supervisor: